I. Instructions

The use of helicopters for critical lift operations on campus can pose a variety of hazards and challenges. Before using this checklist, consider the necessity and feasibility of using a helicopter and the availability of alternative options. Project Managers must submit all information requested in this checklist and can direct all questions to Environmental Health and Safety at ehs@northwestern.edu or (847) 467-6342.

| II. General Requirements for Project Managers N/A Yes |  |  |  |
| --- | --- | --- | --- |
| 1 | Obtain all required permits, as necessary e.g., City of Evanston, City of Chicago | ☐ | ☐ |
|  | Click or tap here to enter text. |  |  |
| 2 | Obtain FAA airspace clearance and adhere to all FAA and/or local restrictions e.g., flight times, altitudes, noise |  | ☐ |
|  | Click or tap here to enter text. |  |  |
| 3 | Verify that landing zones/areas can support loads e.g., rooftops |  | ☐ |
|  | Click or tap here to enter text. |  |  |
| 4 | If operations will block parking spaces or lot access, contact Northwestern Transportation & Parking Services (847) 491-3319 | ☐ | ☐ |
|  | Click or tap here to enter text. |  |  |
| 5 | If operations will utilize athletics fields, contact Northwestern Athletics (847) 491-3205 | ☐ | ☐ |
|  | Click or tap here to enter text. |  |  |
| 6 | Notify the local fire department of operations and if fire lanes or equipment will be blocked Chicago: (312) 745-3705 Evanston: (847) 866-5910 |  | ☐ |
|  | Click or tap here to enter text. |  |  |
| 7 | Notify Northwestern Police Department (NPD) and local police departments Chicago NPD: (312) 503-3456 Evanston NPD: (847) 491-3456 Chicago PD: (312) 746-6000 Evanston PD: (847) 866-5000 |  | ☐ |
|  | Click or tap here to enter text. |  |  |
| 8 | Notify building manager and other relevant or affected departments e.g., affected building, nearby buildings, Facilities |  | ☐ |
|  | Click or tap here to enter text. |  |  |
| 9 | Evacuate interior building spaces one floor below the flight path and landing area during operations occupants must be notified, and signage posted | ☐ | ☐ |
|  | Click or tap here to enter text. |  |  |
| 10 | If operations block building exits and exit routes, notify building occupants and building manager notifications must include posting signage at blocked exits directing occupants to alternate exits, and blocking/barricading exit doors | ☐ | ☐ |
|  | Click or tap here to enter text. |  |  |

| III. General Requirements for Contractors N/A Yes |  |  |  |
| --- | --- | --- | --- |
| 11 | Submit valid certificate of insurance (COI) for all contractors and subcontractors involved must meet or exceed Northwestern’s requirements |  | ☐ |
|  | Click or tap here to enter text. |  |  |
| 12 | Submit valid helicopter inspection report and certification that do not indicate any deficiencies |  | ☐ |
|  | Click or tap here to enter text. |  |  |
| 13 | Submit valid helicopter pilot license and certification for the type of helicopter being operated |  | ☐ |
|  | Click or tap here to enter text. |  |  |
| 14 | Submit valid rigger / signalperson certification(s) |  | ☐ |
|  | Click or tap here to enter text. |  |  |

| IV. Written Lift Plan (developed by Project Managers and Contractors) N/A Yes |  |  |  |
| --- | --- | --- | --- |
| 15 | On-site competent person name, company, and contact information e.g., project engineer, project manager, foreman |  | ☐ |
|  | Click or tap here to enter text. |  |  |
| 16 | Detailed scope of work must include date(s), times, duration, vehicles/equipment, all parties involved, procedures, lift sequence, and necessary shutdowns |  | ☐ |
|  | Click or tap here to enter text. |  |  |
| 17 | Method(s) of communication between all parties during helicopter operations e.g., radios, hand signals |  | ☐ |
|  | Click or tap here to enter text. |  |  |
| 18 | Description of load(s) to be lifted, rigging equipment, and rigging methods e.g., load weights, dimensions, quantity; rigging shackles, slings, spreaders; choker, basket, tag lines |  | ☐ |
|  | Click or tap here to enter text. |  |  |
| 19 | Rigging equipment certified, inspected, in good condition, and rated for the loads being lifted certifications must be available upon request |  | ☐ |
|  | Click or tap here to enter text. |  |  |
| 20 | Safety measures and emergency procedures that all parties will adhere to during helicopter operations must include no smoking within 100ft of helicopter, keeping clear of loads and tail rotor, avoiding fall hazards and pinch points, equipment inspections, emergency landing, and PPE |  | ☐ |
|  | Click or tap here to enter text. |  |  |
| 21 | Hazard control plan e.g., dust, flying debris from rotor wash |  | ☐ |
|  | Click or tap here to enter text. |  |  |
| 22 | Refueling plan (including fire protection) | ☐ | ☐ |
|  | Click or tap here to enter text. |  |  |
| 23 | If workers will be within 15-ft of fall hazards greater than 4-ft in height, develop a fall protection plan Northwestern’s Fall Protection Program | ☐ | ☐ |
|  | Click or tap here to enter text. |  |  |
| 24 | Helicopter operations weather shutdown parameters maximum wind speeds (mph), lightning proximity (miles), rain, snow, ice |  | ☐ |
|  | Click or tap here to enter text. |  |  |
| 25 | Provide a detailed lift plan drawing indicating the following criteria: - Flight path and equipment positions in relation to nearby structures, streets, walkways, and hazards - Helicopter long line installation and removal areas - Staging, hoisting, and equipment landing zones - Helicopter emergency landing zones (ELZs) - Roadway and walkway shutdown locations - Barricade and flagger positions for vehicle and pedestrian safety and control - Identification of overhead or flight path hazards |  | ☐ |
|  | Click or tap here to enter text. |  |  |

| V. Additional Comments |  |
| --- | --- |
| 26 | Click or tap here to enter text. |