Northwestern University Facilities Space Information

for Building & Room Numbering Methodology

General Northwestern Room Name & Numbering Methodology

These numbering conventions have been developed and should be followed throughout Northwestern University controlled building for standardizing room names and numbers.

For new buildings, these standards should be followed as closely as possible. In cases of renovations or additions to existing buildings, the building’s existing numbering system can be extended, or modified to use the following standards to renumber including the renovated and/or added space.

The intention is for each facility’s floor and room numbering scheme to be structured so that the numbers flow through the building in a consistent, comprehensible, and user-friendly and wayfinding pattern. The scheme should be clear to the users of the facility, not causing confusion for individuals attempting to locate spaces.

Goals

The numbering system has been purposefully designed with two goals in mind: standardization and flexibility.

Standardization

A primary goal of the system is to develop a means by which a person will be able to find their way through buildings on campus.

Flexibility

The numbering system is flexible enough to accommodate renovations and additions.

Considerations to Room Numbering Methodology

- Floor identification

- Main entrance/exit points

- Potential people traffic flow paths

- General floor configuration

- Any unique features

- Floor-Room Stacking

Process

- Room numbers shall be developed and coordinated with the staff of NU Facilities – Space Information team and Capital Construction Project Managers as a resource and be included in drawings no later than the DD phase for review and approval and incorporated into the architect’s design construction documents

- Submit floor plans in .pdf and/or AutoCAD format at the completion of schematic design or at the latest in design development phase, or at a time designated by the NU project manager for review and dept. user sign-off. The purpose of this submission is to establish room numbers for the project that will be utilized by NU after occupancy. NU will provide room numbers based upon this document for incorporation into the construction documents by the architect/designer.

- This guideline outlines the procedures and rules for assigning room numbers to all spaces in the Northwestern University campus.  They are provided so that Architectural and Engineering consultants have a better understanding of the room numbering process for all renovation and new construction projects.  This guideline applies to all recreational, research, academic, administrative buildings, residence halls and any leased properties.

- The campus space inventory (CAFM) system provides for a unique identifier for every building space on campus.  This identifier is used for wayfinding within buildings and to consistently identify each room in the University data systems, including the Facilities Planning, Space Information, Design, and Construction space management system, TRIRIGA, AutoCAD / REVIT programs, and the Facilities Management work order system, Facilities Connect

Section 1: Building Name & Numbering

- Northwestern University is responsible for assigning all building names and unique building number

Section 2: Floor Numbering

- Floor Numbering on campus is indicated with (5) digits i.e., 01101

  - All floors should be numbered in consecutive order.

- The first (2) character of a room number indicates the floor level of the building. In this example above 01101, “01” would indicate the First-Floor level and should be the uppermost floor entered at grade level or one-half flight above grade level.

- Buildings located on steeply sloping sites may need to vary from this rule; where necessary, the floor numbered “01” may not in fact be the uppermost floor entered at grade

- Levels below can use the character “BT” (basement), or “GN” (ground), ‘LL” (Lower Level), “SB” (sub-basement) depending upon the arrangement and number of floors.

- Large mezzanines shall be numbered as a floor. Example: When a mezzanine exists between the first floor and the next whole floor, it will be numbered as the “MZ” Mezzanine floor. Existing Buildings may vary

- Some attic floors, roof, and penthouse levels should be numbered as if they are whole floors. For example, a two-story penthouse atop a three-floor building will be numbered as the fourth and fifth floors. I.e., “AT” Attic, “RF” Roof, “PH” Penthouse

- Example List of NU Floor Designations

| Floor Name | Floor Code | Room Example |
| --- | --- | --- |
| SB | Sub-Basement | SB100 |
| BT | Basement | BT023 |
| LL | Lower Level | LL076 |
| GR | Ground Floor | GR034 |
| 01 | First Floor | 01134 |
| 02 | Second Floor | 02123 |
| 03 | Third Floor | 03305 |
| 04 | Fourth Floor | 04212 |
| 10 | Tenth Floor | 10204 |
| MZ | Mezzanine | 1M105 |
| RF | Roof | RF100 |
| PH | Penthouse | PH114 |

- Number Zones Floors and Stacking should be subdivided into groupings to create room number zones. These zones form the general pattern. Use this strategy to provide sufficient capacity to add additional rooms. Use this strategy to provide sufficient capacity to add additional

.

Section 3: Room Numbering

The guidelines in this section should be followed as closely as possible when assigning room numbers to individual rooms.

- Room Numbering on campus is indicated with (5) digits, i.e., 01101, with first (2) digits as the floor level and the last (3) digits being the room number itself

- Use of 3-digit numbers (plus optional alpha suffix) consistently throughout the building. IE 112, 313, or 112A, 313A

- In existing buildings follow the existing room number conventions where possible (i.e., wing numbers, suites, direction)

- Buildings first floor room numbering 100’s; second floor will be 200’s; third floor will be 300’s etc. I.e., 01110, 02202, 03303etc.

- Ground floor or basement rooms may be numbered as GN011, LL012, etc. or BT101, BT102, etc.

- Office Suite areas shall be given a "suite number" as the main room number. IE: 1100, 1250

  - Rooms within suite 1100 will be 1101, 1102, etc.

- Workstation/Cubicles within a room are given Room Numbers with an alpha suffix

- We typically try to have a corridor be a whole round number such as 01000, 02000, and the connecting corridor receive a letter designation such as 01000A, 02000B

- Elevators, In Tririga-FC we notate these as #EL##. On our floor plans we must distinguish this by floor before entering it into Tririga-FC. So, EL5 on the architect floor plan will look like 4EL5 which is on the 4th floor elevator, cab #5 on that floor. These Elevator cab numbers should follow up (stack) the entire bldg.

- Stairs. Stairwells For ie architect plans ST-5 on level 1 also named ST-5 on level 7. On our floor plans we must distinguish this by floor before entering it into Tririga-FC. So. ST-5 on the floor plan will very well look like 1ST5 on the 1st floor plan become 4ST5 on the 4th floor.

- Lab benches are numbered like cubicles, using the whole number (with or without a suffix) of the room of which they are a part of followed by alpha suffix (e.g., 02322A, 02322B, 02322C.).

- Every room space including the corridors must have room names and number on the drawings. Note: not all rooms will have number signage outside the room

A: Numbers should flow from one end of the building to the other

- In a building with only one dividing corridor, room numbers should flow in ascending order from one end of the building to the other. In a building with a more complex corridor system, numbers should flow in ascending order in a clockwise direction through the corridors from the main entrance, or similar location such as elevator lobby.

- In the case of a “race track” design, starting at the main entrance room numbers will be numbered with even numbers down the corridor on the right and odd numbers down the left corridor. These numbers will alternate back and forth across the corridor

- Numbering rooms beginning with the main entrance

B: Use odd numbers on one side of a corridor and even numbers on the other side

- Room numbers shall be coordinated so that even numbers are on one side of a corridor and odd numbers are on the other side. (In more complex designs, or where the availability of numbers is limited, the odd-even format can be abandoned if consecutive numbering results in a more logical scheme.)

C: Skip numbers to maintain succession of room numbering

- In some instances, room numbers on one side of a corridor shall be skipped to maintain succession with the room numbers on the opposite side of the corridor. This may occur, for example, when a suite of rooms or large space is accessed through a single door and there are no other doors on that same side until further down the corridor. This will allow for future renovations that may convert suites or large spaces into separate or small rooms with a corridor door.

D: Skip numbers to allow for future renovations

- When a corridor contains large rooms such as classrooms, meeting rooms, etc. on both sides of the corridor, room numbers shall be skipped to allow for future renovation of a large space into smaller spaces. Sufficient numbers shall be reserved to allow for the large spaces to be divided into standard size office spaces.

E: Use similar numbering on each floor

- Numbering systems on all floors should be similar as much as possible, even when the floor plans are significantly different. To the greatest extent possible, and without creating other inconsistencies, rooms with the same digits in the last positions should be in the same position in the building. Thus, BT001, GN001, 01101 ,02201, etc., occur and/or try to vertically stack.

F: Use alphabetic suffixes for rooms entered from other rooms (rather than a hallway)

- Rooms entered from a main corridor or lobby are numbered with no letter suffix. When rooms open off another room and not from a corridor (such as in a suite of offices), use the number of the first room with a letter suffix (example: Reception 301, Office 301A, Office 301B, Office Storage 301C). Assign suffix letters in the order rooms are encountered and, where possible, in the same direction as the overall numbering sequence. Only a single suffix is allowed; thus, in the case where the first room already has a suffix, the next alphabetic designation shall be used. Avoid the letters “I” and “O” which may be interpreted as numbers. Large suites with many rooms can use non-suffixed numbers if it makes the numbering scheme more understandable.

- Rooms or Space with main room shall receive a room number with an Alpha Suffix ie 01112A

G: Each room should have only one number

- Each room should have only one number regardless of the number of doors opening into it. Exceptions can be made where a particularly large room is subdivided into different areas of use, such as by cubicles. In these cases, one-character letter suffixes are added to create unique numbers. Where the number of areas exceeds the suffixes available, additional sequential numbers should be used.

H: Number all accessible spaces

- In addition to rooms, all interior spaces that can be directly accessed, such as corridors, vestibules, stairwells, elevator shafts, and accessible pipe spaces shall be numbered in a manner as consistent as possible with standard room spaces. Where doors or walls separate different areas of these spaces, each area shall receive its own unique number

I: Definitions

- Floor - the horizontal plane the rooms are located on.  For the purposes of these guidelines, the terms “floor,” “level,” and “story” are considered equal and interchangeable.

- Mezzanine - an intermediate level or levels between the floor and ceiling of any story.

- Modular - office landscaping or systems furniture which may or may not contain full height walls, doors, or work surfaces.

- Room - any space contained between any type of partitions, floors, and ceilings.  For the purposes of these guidelines, the terms “room” and “space” are considered equal and interchangeable.  Spaces such as corridors, elevators, and shafts are also referred to as rooms. •

- Room Type - all room types are defined in the NU CAFM Room Type

- Suite - a group of related rooms typically assigned to a single department, which has its own internal circulation independent from the center building circulation system.

- Whole Number - a room number without a suffix (e.g., 100).

Questions regarding the Room Numbering Methodology can be directed to Facilities Space Information team or the Space Information Manager

- Patrick Eaton, Space Information Manager at: patrick.eaton@northwestern.edu