Property Checklist

### Specify the conditions of each of the listed items. For example: Windows/Screens: Broken glass, in bad condition. Ceiling: Has black stains. Take pictures of the items you have listed below during move-in.

Address: ______________________________________________	Apartment: ______________________________

Move-in date: _________________________________________	Move-out date: __________________________

Move-In Condition		Move-Out Condition
Exterior of building and yards

- Building exterior appears to be clean and well maintained

- All doors, stairs and fire escapes are unobstructed and in good and working condition

- Property around the building is clean and well maintained

- Porches/patio/balcony are free of furniture designed for interior use

- Garbage containers with lids provided (totes if required)

- Fluids for snow blower, lawn equipment, etc. are not stored in building

### Living room, common areas

- All interior walls and ceilings are in good condition (no sign of leaks or mold)

- The walls are sufficiently soundproof

- Electric outlets have covers and are in good and working condition (GFCI preferred)

Move-In Condition: 		Move-Out Condition:

All wall electrical switches work easily and light fixtures work properly

- Hallways and common areas are illuminated

- Smoke detectors are in each hallway leading to bedrooms and are in good and working condition

- Windows operate easily

- All exit routes are clear, doors work freely

- Exit doors free of locking devices that may interfere with exiting (no keys required to exit)

- Carbon Monoxide detector present in apartment

- No leftover couches or chairs unless the apartment is being rented furnished

### Kitchen

- All interior walls, ceiling and floor are in good condition (no sign of leaks or mold)

- Electric outlets have covers and are in good and working condition (GFCI preferred)

- All wall electrical switches work easily and light fixtures work properly

- Do appliances provided appear to be clean and in good and working condition?

- Are the appliances’ electrical cords in good condition?

- Kitchen exhaust and kitchen surfaces are free of grease

- Hot and cold water turns on and off without leaks

- Sink drains ok (not really slowly, with no leaks underneath the sink)

- Windows operate easily

- Exit route is clear, doors work freely

- Fire extinguisher available

- Cabinets are clean

Move-In Condition: 		Move-Out Condition:

Utilities & Housekeeping

- There are enough phone/cable jacks in the residence’s rooms

- There is enough storage

- All circuits marked on electrical panel  (breaker & fuses)

- Basement is not cluttered with combustible debris

- Oil/gas burners have an identified emergency shut off switch

- Laundry rooms (if provided) are neat, clean and free of lint

- The basement is dry and free of standing water and mold

- A 3 foot clearance is maintained around furnace, boiler and hot water tank

- Do all of the rooms have heat?

- You have identified your mailbox

- Bike storage

- No temporary wiring

- No wiring under rugs or passing through doorways

- Location of sump pump

- Location of fuse box

- Location of water softener

### Bathroom(s)

- Interior walls, ceiling and floor are in good condition (no sign of leaks or mold)

- Electric outlets have covers and are in good and working condition (GFCI preferred)

- All wall electrical switches work easily and light fixtures work properly

- Hot and cold water turns on and off without leaks from  sink

Move-In Condition: 		Move-Out Condition:

Hot and cold water turns on and off without leaks from  tub or shower

- Good water pressure

- The window operates easily or there is an exhaust vent fan (exhausted to exterior)

- Toilet flushes completely and does not leak

- Tub and sink drains ok, (not really slowly or clogged)

- Towel bars are well anchored

### Bedrooms

- Interior walls, ceiling and floor are in good condition (no sign of leaks or mold)

- Electric outlets have covers and are in good and working condition (GFCI preferred)

- All wall electrical switches work easily and light fixtures work properly

- Smoke detector is present in bedroom and tests ok (be sure to press button to test)

- Window (1 required) operates easily, glass not broken, screens provided

- Door works freely, latches and locks (no keys required to exit)

- Closets are clean and empty of materials/boxes, etc.

Signatures at move-in:

_______________________________________	________	   _____________________________________	_______

Landlord						Date		   Tenant						Date

Signatures at move-out:

_______________________________________	________	   _____________________________________	_______

Landlord						Date		   Tenant						Date